## Slide 1
TASBE Flow Analytics
Jacob Beal
SEED 2018
Arizona
June, 2018

## Slide 2: How Flow Cytometry Works
Challenges:
Autofluorescence
Variation in measurements
Spectral overlap
Time Contamination
Lots of data points!
Different protein fluorescence
Individual cells behave (very) differently

## Slide 3: Calibrated Flow Cytometry
[Roederer, 2002; Wang et al., 2008; NIST/ISAC, 2012; Beal et al., 2012; Kiani et al., 2014; Beal et al., 2014; Davidsohn et al, 2014; Beal 2015]
Filtered a.u.
Compensated a.u.
FITC a.u.
Calibrated MEFL
Net a.u.
minus mean
autofluorescence
divide by spectral
overlap matrix
times mean ratio
of FITC / color
times mean bead peak
calibrated / observed
Negative Control:
autofluorescence
Single positive controls:
compensate for spectral overlap
Calibration beads:
Convert FITC a.u. to MEFL
Multi-color control:
conversion of non-FITC channels
keep only events
passing gates
Arbitrary Units (a.u.)
Negative control:
find healthy cell size/granularity

## Slide 4: Calibration  Precision & Comparison
1.22x geo. std.dev.
across 3 labs!

## Slide 5: Example Applications
High-Performance Devices
gRNA
gRNA
5xUAS
Gal4VP16
Poly(A)
EYFP
x
Mini-CMV
x
Cas9m
RNA Pol-II
Transcription initiation complex
Stage 1
Stage 2
V1
V1
V2
V2
V3
V3
Precision Prediction from Device Models
pCAG
Dox
T2A
rtTA3
VP16Gal4
pTRE
EBFP2
pTRE
R1
pUAS-Rep1
pUAS-Rep2
EYFP
R2
pCAG
mkate
pCAG
mVenus
nsP1-4
SGP
mKate
nsP1-4
SGP
EBFP2
nsP1-4
SGP
T14-T21 T21-T14 T21-LmrA LmrA-T21 LmrA-T14 T14-LmrA

## Slide 6: In Development: SynBioHub Integration

## Slide 7: Using Calibrated Flow Yourself
Cytoflow
http://bpteague.github.io/cytoflow
https://github.com/TASBE
Provide feedback / report problems via GitHub issue trackers
https://taborlab.github.io/FlowCal
FlowCal